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EMEA CAPACITY REPORT for June 2014
[bookmark: _Toc391652298]EMEA Storage Capacity Report
	Citigroup Distributed Storage Capacity Report  (EMEA) for June 2014

	Site
	Unformatted
Total
(TB)
	Formatted
Total
(TB)
	configured 
Total
(TB)
	Usable (TB)
	Used (TB)
	Free (TB)
	Allocated (TB)
	%Used
	% Allocated
	# Frames

	Total EMEA Sites
	17,894
	16,318
	14,354
	9,956
	5,220
	4,748
	7,434
	52%
	52%
	102

	Swiss
	219
	199
	133
	116
	57
	59
	127
	49%
	95%
	4

	FDC
	8,144
	7,431
	6,628
	4,515
	2,122
	2,393
	3,152
	47%
	48%
	39

	RDC
	8,377
	7,644
	6,656
	4,528
	2,566
	1,973
	3,593
	57%
	54%
	42

	CGC
	701
	632
	594
	520
	233
	287
	321
	45%
	54%
	4

	Poland
	234
	212
	143
	125
	125
	0
	125
	100%
	88%
	4

	Turkey
	112
	102
	102
	88
	88
	0
	88
	100%
	86%
	3

	Russia 
	62
	57
	57
	28
	28
	0
	28
	100%
	50%
	4

	Senatorska 
	22
	20
	20
	17
	0
	17
	0
	0%
	0%
	1

	Goleszowska 
	24
	22
	22
	19
	0
	19
	0
	0%
	0%
	1


	Unformatted
Total
(PB)
	configured 
Total
(PB)
	Allocated
(PB)
	Free
(PB)

	17.47
	14.02
	7.26
	4.64
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	Citigroup Distributed Fibre Switch Capacity Report (EMEA) for June 2014

	Site Summary and Capacity Analysis
NOTE: Each line below represents an individial SAN island. Each island requires free ports/capacity in order to maintain/support BAU growth.

	Site
	San
	Total Installed
	Used
Ports
	Free
Ports
	% Free
	Switch
Count

	Total All Sites
	21,019
	12,171
	8,848
	42.1%
	124

	Citigroup Centre DC, London
	Core (Tape) Cisco
	96
	32
	64
	66.7%
	2

	Citigroup Centre DC, London
	Core (Disk) Cisco
	408
	126
	282
	69.1%
	2

	Citigroup Centre DC, London
	Edge (Disk) Cisco
	1,296
	410
	886
	68.4%
	6

	Citigroup Centre DC, London
	Core SRDF Cisco
	144
	12
	132
	91.7%
	2

	Citigroup Centre DC, London
	Core (Disk) McData
	235
	72
	163
	69.4%
	2

	Citigroup Centre DC, London
	EDGE (Disk) McData
	279
	52
	227
	81.4%
	2

	Total Site
	 
	2,458
	704
	1,754
	71%
	16

	Riverdale DC, London
	Core (Tape) Cisco
	264
	219
	45
	17.0%
	2

	Riverdale DC, London
	Core (Disk) Cisco
	1,751
	978
	773
	44.1%
	8

	Riverdale DC, London
	Edge (Disk) Cisco
	5,629
	3,668
	1,961
	34.8%
	30

	Riverdale DC, London
	Core SRDF Cisco
	359
	135
	224
	62.4%
	2

	Riverdale DC, London
	Core (Disk) McData
	752
	546
	206
	27.4%
	6

	Riverdale DC, London
	EDGE (Disk) McData
	1,464
	370
	1,094
	74.7%
	12

	Total Site
	 
	10,219
	5,916
	4,303
	42%
	60

	Frankfurt DC, Germany
	Core (Tape) Cisco
	240
	201
	39
	16.3%
	2

	Frankfurt DC, Germany
	Core (Disk) Cisco
	1,831
	1,279
	552
	30.1%
	10

	Frankfurt DC, Germany
	Edge (Disk) Cisco
	5,437
	3,683
	1,754
	32.3%
	22

	Frankfurt DC, Germany
	Core SRDF Cisco
	360
	137
	223
	61.9%
	2

	Total Site
	 
	7,868
	5,300
	2,568
	33%
	36

	Welle DC, Germany
	Core (Tape) Cisco
	96
	35
	61
	63.5%
	2

	Welle DC, Germany
	Core SRDF Cisco
	108
	32
	76
	70.4%
	2

	Total Site
	 
	204
	67
	137
	67%
	4

	Swiss DC Blwg, Switzerland
	Core (Tape) Cisco
	48
	20
	28
	58.3%
	2

	Swiss DC Blwg, Switzerland
	Core (Disk) Cisco
	102
	74
	28
	27.5%
	2

	Total Site
	 
	150
	94
	56
	37%
	4

	Swiss DC Colt, Switzerland
	Core (Tape) Cisco
	48
	20
	28
	58.3%
	2

	Swiss DC Colt, Switzerland
	Core (Disk) Cisco
	72
	70
	2
	2.8%
	2

	Total Site
	 
	120
	90
	30
	25%
	4

	Total All CTI Sites
	21,019
	12,171
	8,848
	42.1%
	124
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	VMAX
	 
	 
	 
	 
	 
	 
	 
	 

	Site
	CGC Non-Rep
	CGC-Rep
	RDC Non-Rep
	RDC-Rep
	FDC Non-Rep
	FDC-Rep
	ZDC Non-Rep
	Total Rep
	Total Non-Rep

	Total GB
	250018
	150517
	795575
	1192245
	1342665
	1155016
	88242
	2497777
	2476500

	Used GB
	102704
	83558
	425434
	499837
	536517
	486525
	26820
	1069920
	1091476

	% full
	41.08%
	55.51%
	53.48%
	41.92%
	39.96%
	42.12%
	30.39%
	42.83%
	44.07%

	# Devices
	5644
	3620
	33947
	52989
	50033
	49507
	4050
	106116
	93674

	Virtual Capacity GB
	190299
	122056
	1144591
	1786630
	1686963
	1669228
	136554
	3577913
	3158406

	capacity threshold
	500037
	301033
	1591150
	2384489
	2685329
	2310031
	176483
	4995554
	4952999

	# Allocated
	5321
	2948
	27377
	24612
	28355
	21857
	2819
	49417
	63872

	GB Allocated
	179408
	99398
	923070
	829843
	956046
	736952
	95048
	1666193
	2153572

	subscription vs allocated
	71.76%
	66.04%
	116.03%
	69.60%
	71.21%
	63.80%
	107.71%
	66.71%
	86.96%

	GB Mapped (First  Port)
	168937
	98993
	890383
	672803
	952383
	578990
	95048
	1350786
	2106751

	subscription vs Mapped
	67.57%
	65.77%
	111.92%
	56.43%
	70.93%
	50.13%
	107.71%
	54.08%
	85.07%
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[FOC] HDS DEOLHOOGRE3GE 75396 Tew POOL2  ITSTT  54% 19081 4922 000 020 11933 000 8316 10137 G179 4465

[FD] HDS DEOLHOSRB398 7639 [TeW| POOL22  393% 17501 21888 4443 000 27891 193%2 000 6489 6695 1805 2123

[FOG] HDS DEOLHO03RE3Gs 78368 390 28746 3194 000 762 47214 0 am 4214 m7s  tesem 12

[FOE] HDS DEOLHO0ANTO2S §7026 210428 G013 123416 4135 4541 30596 53759 1985 22216 7012 165204 6550 1SFEB0N7

[FOG] HDS DEOLHOSNO38S 90365 202908 139289 63819 6865 1312 229527 10812 779 218715 137628 81067 3707 1SFEB2017
DEOLHOIONDS 16 210516 ES0 1343 WA 348 2514 48357 44422 000 395 1343 2602 6595 SFESNT
(GBOKHOOREBS0. 18850 1218 8102 602 5008 8445 22474 13559 000 891 2747 619 6%1e
(GBOKHOOREBS0 18850 2867 17506 3161 8471 5440 31gl0 22219 000 9w 5488 4225 4380
(GBOKHOOREBS0 18850 615% 21313 40223 464 000 o4 23208 000 128  S188 7847 5958
(GBOKHOOREBS0 18850 13152 6102 70 4640 708 22445 4683 3505 17761 6102 11859 eset
GBOKHOGRESTE 78375 31840 9013 297 2022 000 15200 333 000 11226 692 4304 38
CBOKHOGIRETE 78375 15031 88 62 5880 000 1795 35% 000 825 579 245 27
GBOKHOOANESSE Teces 142776 115489 27288 o083 000 130640 49859 000  B0STI  7a1%  6g3s | add
GROKHOOSNIS1S 53518 72852 62953 109899 %42 2855 22225 5058 000 M1 62577 79120 5584 1SFESONT
GBOKHOOSNIS1E 53515 78591 44711 G0 S8% 2502 8575 42618 000 5338 44711 6427 1588 iSPESONT
‘GBOKHOOBNS3E2 282 eT7I9 75072 657 3237 2BE2 7T 1460 198092 9688 101222 5110 SFESNT

GBOKHO10NO204. 38650 27,779 10871 7187 1755 45432 10031 000 35401 27779 7622 2153 1SFEB2017




